ATRIAL FIBRILLATION REMOTE MONITORING USING A HAND-HELD WIRELESS REMOTE MONITOR

D. Vukajlovic4, B. Bojovic3, V. Vukcevic2, I. Gussak1, U. Mitrovic5, G. Simic5,

S. George1

1NewCardio, Inc., Santa Clara, CA, USA, 2Clinical Center of Serbia, 3Vinca Institute, 4Dedinje CardioVascular Institute, 5Univ of Belgrade, Belgrade, Serbia

Introduction: Remote rhythm surveillance in atrial fibrillation (AF) relys primarily on RR interval analysis, with limited assessment of atrial activity. CardioBip is a hand-held, patient-activated wireless monitor that provides a full 12L waveform (12CB), using signal reconstruction from 5 leads and a patient-specific transformation matrix. We hypothesized that 12CB would improve remote AF diagnosis by improving atrial activity detection.

Methods: 18 patients with AF undergoing DC cardioversion (CV) had patient-specific transformation matrices created at baseline AF. Wireless 12CB transmissions were performed before and after CV. Rhythm was confirmed with 12-lead ECGs (12L). Atrial activity of 12CB was compared to 12L in sinus rhythm (SR) and AF. In SR number of leads with visible P waves (> 0.05 mm), and P wave polarity were analyzed. In AF, number of leads with fibrillatory [F] waves >0.025 mV were compared.

Results: In 14 SR transmissions, P wave was visible on 141/168 leads on 12L and 137/168 on 12CB (126 true pos [TP] and 11 false pos [FP] relative to 12L; p=0.26, McNemar’s test). In 126 leads with P waves in both 12L and 12CB, the methods agreed on P wave polarity in 125. In AF, F waves were visible in 178/264 leads on 12L and 189/264 leads on 12CB (144 TP, 45 FP; p=0.27) with all 5 AF relapses detected by 12CB.

Conclusion: 12CB detects atrial signal in SR and AF and shows excellent potential for remote, wireless followup of patients with AF.