TRANSAPICAL TRANSCATHETER AORTIC VALVE REPLACEMENT IN THE PRESENCE OF A MITRAL PROSTHESIS

J. Ye

St. Paul's Hospital, University of British Columbia, Vancouver, BC, Canada

Transcatheter aortic valve replacement (TAVR), using the Edwards Sapien balloon expandable valve (Edwards Lifesciences, Irvine, California, USA) has expanded our ability to treat patients with symptomatic severe aortic stenosis, and become the treatment of the choice in high-risk inoperable patients. Further inroads into its application in subgroup populations such as patients with functioning mitral valve prosthesis, has also been defined over recent years. With experience, these patients now need not be uniformly excluded. Our case series have demonstrated that the transapical TAVR of a balloon expandable valve is feasible and safe in patients with both mechanical and bioprosthetic mitral prostheses. Technical challenges however exist in patients with mitral bioprostheses. Various degree of balloon displacement occurs due to impingement on the housing cage and pivot guards of mechanical mitral valves, and on the bioprosthetic struts. The high-risk patients have either bioprosthetic mitral valves, or mechanical valve cages seated below the mitral annulus impinging onto the balloon during balloon aortic valvuloplasty. The understanding of the interaction between both prostheses at the anatomic aorto-mitral continuity is critical for patient selection, and procedural modification to ensure success. The transarterial approach should be avoided in these high-risk patients. The transapical approach with some technical modifications is safe, with good outcomes in patients with functioning mitral prostheses. However, TAVR in the presence of a mitral prosthesis should be reserved for experienced centers.