AF SURVEILLANCE POST AF ABLATION USING IMPLANTABLE CARDIAC MONITOR

J. Ip1, Y. Xie2, D. Grimes1, K. Jager3, J. Boak1, D. Gandhi3

1. Sparrow Clinical Research Institute, Lansing, MI, USA

2. Michigan State University, Lansing, MI. USA

3. McLaren Hospital System, Lansing, MI. USA

Pulmonary vein isolation (PVI) is an effective treatment for atrial fibrillation (AF), however, there is no consensus on the definition of success or follow-up strategies. Existing data are limited to intermittent Holter or trans-telephonic monitoring with reliance of patients symptoms.

Objectives: We sought to determine the outcomes of AF ablation and post-ablation AF surveillance with a leadless implantable cardiac monitor (ICM).

Methods: Sixty-five patients with drug refractory AF underwent pulmonary vein isolation. An ICM was implanted subcutaneously post-ablation to assess AF recurrence. AF recurrence was defined as > 1 AF episode with a duration of > 30 S. The device-stored data was downloaded weekly over the internet and will transmitted events were reviewed.

Results: A total of 2105 AF automatic and patient activated AF episodes were analysed over a follow-up of 18 +/- 4 months. Of these episodes, 63% were asymptomatic. Furthermore, only 49% of the patient-activated episodes were AF. AF recurrence was highest in the first 4 weeks and substantially decreased 6 months post-ablation. The overall freedom from AF recurrence at the end of follow-up was 54%. When 48 h Holter recordings were compared with the device stored episodes, the sensitivity of the device to detect AF was 95% and the specificity was 62%.

Conclusion: The ICM provides an objective measure of AF ablation success and provides excellent senstivity in AF detection. A significant percentage of AF episodes post-ablation are aymptomatic.