MAGNETOCARDIOGRAPHY IN THE HEART DISEASE WITH A NEW SYSTEM IN AN UNSHIELDING SETTING

B. Hailer1, I. Chaikovsky2, S. Auth-Eisernitz1, G. Schafer1, F. Steinberg2,

D. Gronemeyer3

1Catholic Hospital Philippusstift, Essen, 2SQUID International AG , Essen,

3Institute for Microtherapy, University Witten/Herdecke, Bochum, Germany

Background The noninvasive detection of coronary artery disease remains a clinical challenge. Magnetocardiography is a completely noninvasive method which permits the registration of cardiac electrical activity at multiple sites in a plane above the  chestcage without the need for electrodes. In contrast to the ECG which suffers from boundary effects and a variety of potential artifacts (electrode placement etc.) the MCG is unaffected by such impediments as the magnetic field is unaltered by surrounding tissues.  Magnetocardiography with a new system in an unshielded setting should be a better diagnostic tool than the standard ECG for the detection of coronary artery disease (CAD) .

Methods 52 patients with angiographically documented CAD and unimpaired ventricular function as well as 55 controls were included in this study. 12 lead ECG was performed in all subjects. MCG recordings were taken from 36 positions also under resting conditions. Current density vector maps were generated during the ST-T interval. Each map was classified  by visually by two observers with a system  from 0 (normal) to 4 (grossly abnormal). Results While the ECG was normal in all subjects the MCG in the controls  was  classified as category 0, 1 or 2. However in patients with abnormal coronary angiograms mainly maps with category 3 and 4  were seen. (P<0.05)

Conclusion A single channel magnetometer in an unshielded setting reveals significant differences between normals and CAD patients with normal ECG on the basis of current density reconstruction during the ST-T interval when measured under resting conditions.  This method might be suitable for the noninvasive  detection of CAD.