ROLE OF CIRCULATING TISSUE FACTOR ON STENT THROMBOSIS IN AN IN VITRO SYSTEM

T Palmerini1 , B Coller2, V Cervi1, L Tomasi1, A  Marzocchi1, C Marrozzini1,

P Ortolani1, O Leone1, M Piccioli1, A Branzi1

1Policlinico S. Orsola, Bologna, Italy, 2Rockfeller University, New York, NY, USA

Background- The traditional view of coagulation has recently been challenged by the demonstration that tissue factor (TF)is present in circulating blood. The potential contribution of this intravascular pool of TF  to thrombus formation on stents is not known. This study evaluated the role of circulating TF in mediating thrombus formation on stents in an in vitro model of stent perfusion. Methods- Coronary stents were placed in parallel silicone tubes connected to a roller pump which was set to pump blood at a flow rate of 10 ml/min. Stents were then exposed to heparinized blood from healthy volunteers for 120 minutes. Results- The presence of the stent in the circuit caused a significant increase in monocyte TF expression, but only monocytes with attached platelets stained positive for TF. Thrombi formed on stents and the thrombi stained positive for TF. Pre-treatment of blood with a monoclonal antibody against TF (cH36) caused a 56% reduction in 125I-fibrin(ogen) deposition on stents compared to controls (p= 0.002). Monocyte depletion of blood  reduced 125I-fibrin(ogen) deposition by 45% (p= 0.01) and TF staining in the thrombus by 83% (p= 0.01). Perfusion of stents with leukocyte-reduced platelet-rich plasma (PRP) produced small thrombi and treatment of PRP with cH36 reduced 125I-fibrin(ogen) deposition by 43% (p=0.01). Conclusions- Circulating TF plays a pivotal role in thrombus formation on stents. Monocytes appear to be the main, but not only, source of TF depositing in the thrombus.